## Slide 1: Testing New Ideas for Calorimeters
Jin Huang
Los Alamos National Lab
for the calorimeter working group

## Slide 2: Idea 1: HERMES – LHC-b type of preshower

## Slide 3: Setup – PVDIS configuration simulated
A 2-radiation length thick Pb plate and 2 cm thick scintillator plate was added to the default Shashlik calorimeter (1.5 mm scint + 0.5 mm Pb per layer)
Shashlik calorimeter have a single readout, serve as shower detector
Shower length = 18 X0 with 1.5mm Scint – 0.5mm Pb sandwiches 1/Sqrt(E) energy resolution : ΔE/E ~5%/√ (E) compared with pure shashlik conf. with 4%/√ (E)
2 X0 Lead
2 cm scintillator
Electron Events Shown

## Slide 4: Preshower response
Preshower alone, cut eff. ~15% (pion) VS ~95% (electron)
Similar performance for Shashlik preshower
Legend : Electron; Pion; Muon
HERMES NIM 1996
●Electron
○Pion
*Pion/Electron
E/p cut

## Slide 5: Momentum dependent cuts and eff. Preshower cut only
Electron
Pion
Muon
Shown in last meeting, which is consistent level compared with Shashlyk preshower

## Slide 6: Preshower + shower rejection - not better than full Shashlik design
Electron
Pion

## Slide 7: Other choice? Radiator thickness scan
Energy deposition in scintillator pad
No diff.
HERMES
Give Another Try
Thickness of passive radiator

## Slide 8: Give another try: radiator = 3 X0 Lead
Resolution is significantly degraded with 3X0 passive radiator
Significant contribution of 1/E term (~10%/E)

## Slide 9: Preshower + shower rejection - worse than the HERMES design
Electron
Pion
Worse than before

## Slide 10: Idea 2: Hadron detector at end of calorimeter

## Slide 11: Setup indenting angle of 22º-27º simulated
2 cm of scintillator at the end of 20 X0 Shashlyk detector
Expect hadronic shower leak to this scintillator , while EM shower is fully absorbed
2 cm scintillator
100x Muon events shown

## Slide 12: Turn out that low energy pion can not punch trough too …
1/3 lower energy pions do not reach this layer
  Absorbed or track significantly deflected
Log 10 of energy deposition
<- MIP peak
No Deposition Energy ->

## Slide 13: Conclusion
Can help reject some low energy hadron but left with ~80% electron efficiency
Pion
Electron
With cut
With cut

## Slide 14: Idea 3: Lower efficiency to trade for rejection

## Slide 15: The idea
Sacrifice efficiency to trade for pion rejection
  The idea came from Ed
  He concern that we quote too high efficiency which might degrade due to practical reasons (noise, background, …) and push us to the corner to archive high pion rejection too
  He suggest that we lower efficiency to ~80%, which may be more realistic and make rejection easier
We probably want to do so for low-P region
  Low-P region have larger cross section which can sacrifice some efficiency
  Low-P region have larger pion/e ratio
  Low-P region have smaller pion rejection

## Slide 16: It is an effective way to enhance rejection
Electron
Pion

## Slide 17: Idea 4: Try new Physics List

## Slide 18: Physics List QGSP_BERT -> FTFP_BERT
QGSP_BERT
FTFP_BERT
Electron Eff
Electron Eff
1/Pion Rej.
1/Pion Rej.