## Slide 1: Simulation Updates For May Collaboration Meeting
Jin Huang
Los Alamos National Lab

## Slide 2: Background simulation
Simulate background at front surface of calorimeter (Zhiwen)
Simulate calorimeter response to a wide range of background particle
Combine above two sum over all contributions (EM, DIS, pi0, pi+,pi-) -> background distribution
Imbed into the signal simulation (high energy e, pi), assuming a 50ns coincidental window
Example: photon response
background for pi- + e-

## Slide 3: SIDIS – Large Angle

## Slide 4: Dominant background
0.3 GHz low energy photon for inner-R 1+6 hexagon clusters
But well shielded by 2-X0 preshower absorber

## Slide 5: Background distribution
Photon
Electron
Pion

## Slide 6: Pion rejection w/o background @ 94% electron eff

## Slide 7: w/ background (inner-R) Electron efficiency

## Slide 8: w/ background (inner-R) Pion efficiency (1/rejecton)
Worse rejection
But not below the bar (1:100)

## Slide 9: Trigger turn-on curve
Proposed trigger rate and rejection
Pion rejection needed ~ 20:1, but I think can be relaxed
Additional photon rejection help more
Single-Shower 1+6 cluster trigger tested
  Full background spectrum considered
  Cut on shower energy deposition > 2.6 GeV
  Very high electron trigger efficiency

## Slide 10: Pion turn-on curve Single-Shower trigger > 2.6 GeV
Rejection > 20:1 for lower energy pions

## Slide 11: What if we also want to rejection photons? - Add a scintillator pad
Photon originated
Electron
Pion
Scintillator MIP rate
1GeV < Eγ< 7 GeV
1GeV < Eγ< 2 GeV
~10:1 rejection with 45 segments (matching size)

## Slide 12: PVIDS Forward

## Slide 13: Updated radiation dose VS layers
High radiation azimuthal region
Low radiation azimuthal region
From 2nd Update
Direct Pi0 γ
Soft EM γ
Photon (EM) <- dominant!
Photon (Pi0)
Electron
Pion- Pion+ Proton
from 2nd update

## Slide 14: Background imbedding and distribution Mid-R, High Radiation phi slice
Photon (6GHz/6+1 Hex cluster)
Electron
Pion- Pion+ Proton

## Slide 15: Updated: Per-event pion rate for 1+6 hexagon cluster at Mid radius, high radiation slice
Electron (mostly absorbed in Pb)
Pion-
Pion+
+ 3 GHz photon not shown

## Slide 16: Update on PID with DC component removal (PS > MIP + Bgd + (2-3) σ)
Pion Efficiency
Electron Efficiency
Outer radius, higher γ φ-band
Outer radius, lower γ φ-band
Due to Soft EM γ

## Slide 17: Update on PID with DC component removal (PS > MIP + Bgd + (2-3) σ)
Pion Efficiency
Electron Efficiency
Outer radius, higher γ φ-band
Mid radius, higher γ φ-band
Due to Hadron rate

## Slide 18: More detail in PID cut Middle radius, lower γ φ-band, full bgd
Pion Efficiency
Electron Efficiency

## Slide 19: Update on PID with DC component removal (PS > MIP + Bgd + (2-3) σ)
Pion Efficiency
Electron Efficiency
Inner radius, higher γ φ-band
Inner radius, lower γ φ-band

## Slide 20: Trigger turn on curve for 2 GeV electron Shower Hex 1+6 trigger > 1.6 GeV
Pion Efficiency
Electron Efficiency
Inner radius, higher γ φ-band, full bgd
Middle radius, higer γ φ-band, full bgd
, full bgd
100% pass for ~250 events/bin
Physics
Physics

## Slide 21: Trigger turn on curve for 2.5 GeV electron Shower Hex 1+6 trigger > 2.1 GeV
Physics
Physics
Pion Efficiency
Electron Efficiency
Middle radius, higher γ φ-band, full bgd
Outer radius, higer γ φ-band, full bgd

## Slide 22: More detail in trigger cut Middle radius, higher γ φ-band, full bgd Shower Hex 1+6 trigger > 2.1 GeV
Pion Efficiency
Electron Efficiency

## Slide 23: Readout occupancy per shower channel for ~75MeV zero suppression
High radiation phi slice
Low radiation phi slice