## Slide 1: Simulation Updates
Jin Huang
Los Alamos National Lab

## Slide 2: SIDIS Large Angle EC

## Slide 3: Calorimeter background simulation
Simulate background at front surface of calorimeter (Zhiwen) and look at the most inner radius (highest background)
Simulate calorimeter response to a wide range of background particle
Combine above two sum over all contributions (EM, DIS, pi0, pi+,pi-) -> background distribution
Imbed into the signal simulation (high energy e, pi), assuming a 50ns coincidental window

## Slide 4: Dominant background
0.3 GHz low energy photon for inner-R 1+6 hexagon clusters
But well shielded by 2-X0 preshower absorber

## Slide 5: Background distribution
Photon
Electron
Pion

## Slide 6: Pion rejection w/o background @ 94% electron eff

## Slide 7: w/ background (inner-R) Electron efficiency

## Slide 8: w/ background (inner-R) Pion efficiency (1/rejecton)
Worse rejection
But not below the bar (1:100)

## Slide 9: Trigger turn-on curve
Proposed trigger rate and rejection
Pion rejection needed ~ 20:1, but I think can be relaxed
Additional photon rejection help more
Single-Shower 1+6 cluster trigger tested
  Full background spectrum considered
  Cut on shower energy deposition > 2.6 GeV
  Very high electron trigger efficiency

## Slide 10: Pion turn-on curve Single-Shower trigger > 2.6 GeV
Rejection > 20:1 for lower energy pions

## Slide 11: What if we also want to rejection photons? - Add a scintillator pad
Photon originated
Electron
Pion
Scintillator MIP rate
1GeV < Eγ< 7 GeV
1GeV < Eγ< 2 GeV
~10:1 rejection with 45 segments (matching size)

## Slide 12: PVDIS Calorimeter
Simulated using Apr 2012 BaBar baffle
Still trying tricks to improve performance

## Slide 13: Why it is hard – lots of deep pions
Photon
Electron
Pion- Pion+

## Slide 14: Per-event pion rate for 1+6 hexagon cluster at inner radius
Electron
Pion-
Pion+
High pi+ rate??
Need to be checked

## Slide 15: Electron efficiency w/ background at inner radius. Ignore gamma and pi+ bgd
Background pile ups

## Slide 16: Pion efficiency w/ background at inner radius. Ignore gamma and pi+ bgd
Significant drop in rejection

## Slide 17: What we can further try
Position or kinematic dependent trigger threshold and cut threshold
Use track multiplicity to assist calorimeter cuts