## Slide 1: EC segmentation
Shashlyk calorimeter
  Lead-scintillator sampling calorimeter
  Fiber collects and reads out light
Satisfy the SoLID requirement
  Good energy resolution (tunable)
  Radiation hardness ~ 500kRad
Easier to collect and read out the light
Well developed technology, many experiments
Typical Shashlik
Polyakov, COMPASS Talk, 2010
KOPIO

## Slide 2: Option 1, readout preshower directly
Vacuum Photodiode or APD can’t survive high rate environment?
dead area?

## Slide 3: Option 2, let fibers go back
Fiber bending, how flexible it is? Dead area? High rate?
hiding in rod

## Slide 4: Option 3, slow/fast scintillator

## Slide 5: Option 3, fast/slow scintalator

## Slide 6: PVDIS rate

## Slide 7: SIDIS rate

## Slide 8: prototype
1. option 2, test manufacturing and performance.
2. option 3, test with flashADC and try to reach better energy resolution and e/pi speration

## Slide 9: https://hedberg.web.cern.ch/hedberg/home/caleido/caleido.html