## Slide 1: APD

## Slide 2
photosensors:
Large Area Avalanche Photo Diodes (LAAPD)
in collaboration with Hamamatsu Photonics
CMS
5x5mm2
10x10mm2
new
excellent performance
at RT and T = –25oC
radiation resistent
up to 1013 protons
in particular at T = -25oC
final concept: 2 LAAPDs/crystal,
separately readout
dimensions
7 x 14 mm2

## Slide 3
18mm
development of low noise, low power preamplifiers
design of descrete components
for prototype studies
ASIC (APFEL) large dynamic range
2 channels/ 2 ranges
overall range 1 – 10.000
noise level (cooled)
<< 2 MeV

## Slide 4: Panda APD size 7x14mm

## Slide 5: Panda APD see light below 500nm
Panda_EMC_TDR

## Slide 6: WLS has light around 500nm
http://www.detectors.saint-gobain.com/fibers.aspx

## Slide 7: Hamamatsu has no APD for 500nm? http://sales.hamamatsu.com/index.php?id=13196302

## Slide 8: Photon radiation
60Co photon 1.2MeV
1e12 photon is 1.2e9 GeV or 0.192 J
The remeasurements of the APD characteristics have been done after a storage of the diodes at room temperature in the order of one month

## Slide 9: Neutron radiation