## Slide 1
Update on GEMs
(Chinese Collaboration)
University of Science & Technology of China
Yi Zhou
SoLID Collaboration Meeting, Jlab, USA, Sep. 14 ~ Sep.15, 2012

## Slide 2
Four Chinese Groups
China Institute of Atomic Energy (CIAE)
Lanzhou University
Tsinghua University
University of Science & Technology of China (USTC)

## Slide 3
GEM Simulation
Maxwell + neBEM for the electric field calculation.
Garfield + Magboltz + Heed for the Calculation of electron transportation in Gas.
We simulated the Spatial Resolution, Gain, Electron Transparency of gem foils, and the Counting Rate.
Avalanche in a Single-Foil GEM Detector

## Slide 4
Further study for GEM foil
Using etching liquid to etch nuclear pore foil (Kapton foil)
Study the influence of the recipe of etching liquid and etching temperature to the etching rate

## Slide 5
Near Future work Plan
APV25 electronics are ready to test
Ordering GEM raw foil from CERN
A professor from CERN RD51 visited CIAE group to discuss future collaboration on GEM detector.

## Slide 6
Update 1 of GEM R&D in THU
Working out a practical method to determine the intrinsic position resolution(Already accepted by NIM)
55Fe(Surface source)
therein, n means the counting rate
Replace w2 with n:
Linear fit to 2tot – n, then get the GEM
(1), When w ≈40, 50,60,70,80μm,
with the ratio as the x axis, with the σ2tot as the y axis.
(2), Fit the graph with linear-function, we can get
σGEM=56 ±15μm

## Slide 7
ASIC-based FEE manufactured and tested
(In collaboration with Department of Engineering Physics in THU)
Update 2 of GEM R&D in THU
There are 16 Channels on each CASA FEE card. In the static test, it show us very good linearity and very low noise.

## Slide 8
ASIC-based FEE manufactured and tested
(In collaboration with Department of Engineering Physics in THU)
Update 2 of GEM R&D in THU
Am-241 test by using the CASA FEE + TPC GEM

## Slide 9
 Energy spectrum with Am-241
CASA1.1 matches the performance as in the table:
Update 2 of GEM R&D in THU
ASIC-based FEE manufactured and tested
(In collaboration with Department of Engineering Physics in THU)

## Slide 10
Near Future work Plan
ASIC-based FEE test with GEM detector
Inter-foil and inter-strip effects on the GEM performance (to gain experience for larger detector)
Larger area GEM prototype (on the arrival of large GEM foil)

## Slide 11
Problems caused by the detector cover(Drift)
Peak due to the bremsstrahlung effect
from the Al sheet(covering the chamber)
Copper X-ray
3mm Al sheet
Bremsstrahlung effect will cause problems in
gain calibration;
If the Kα line of the metal on drift is less than the X-ray energy, the energy transfer effect will give us a wrong peak on the energy spectrum;
To decrease the Bremsstrahlung caused by the
material of the drift electrode, we can open
windows(Blind Vias) on the drift PCB;
Using low energy X-rays for gain calibration to avoid
the energy transfer effects;
Cu X ray: 20kV/0.6mA, 5Cu Tapes, Rate=649Hz
Mini X: 20kV/5uA
Cu X ray: 20kV/0.6mA, 4Cu Tapes, Rate=2590Hz
May be caused by the copper on the drift electrode

## Slide 12
The Charging up effect of the GEM detector
Rate changed by adjusting the current of the X-ray tube
VGEM(V): 335-335-290
Field(kV/cm): 2.1-3.0-3.0-3.2
VGEM(V): 350-345-295
Field(kV/cm): 2.2-3.1-3.1-3.3
VGEM(V): 360-355-305
Field(kV/cm): 2.3-3.2-3.2-3.4
VGEM(V): 370-365-315
Field(kV/cm): 2.3-3.3-3.3-3.5

## Slide 13
30cm×30cm GEM (Order from CERN)

## Slide 14
Preparation for Large Area GEM Project
6 GEM foils(30cmX30cm) have been ordered from Rui.
Insulation Resistance
and Continuity Tester

## Slide 15
Near Future Work Plan
Build a test platform for the 30cmX30cm GEM detector(from CERN);
Continue working on the charging up effect;
Design and build a 30cm×30cm GEM
at USTC;
Thank You