## Slide 1: Pulse Shape Discrimination
TK Hemmick

## Slide 2: Ar-CO2 Drift Velocity
Typical drift gap:
  300 Volts
  2 mm
  1.5 kV/cm
Drift Velocity
  5 cm/msec
  40 nsec duration
Enlarge drift gap!
  1 cm gap
  200 nsec pulse duration

## Slide 3: Background vs Signals
Photons and Neutrons
  Impulse response.
Electrons and Pions (MIPs)
  Ionization Trail
350
400
500
450
1 cm drift

## Slide 4: “Time Expansion Chamber”
At 2 cm drift (6 planes) this is called “Time Expansion Chamber”
It is used in PHENIX and ALICE.
Provides e/pi separation at low momentum.
Information is already there in SoLID!