## Slide 1: HBD -- BRIEF
T.K. Hemmick

## Slide 2: Preparation for Next Test Beam
SLAC ESTB (End Station Test Beam)
  Back ~1/3 of SLAC for light source.
    120 Hz
    “moderate” beam
  5 Hz (minimum) pickoff  Target  ESA (~1 e/pulse)
We are 1st outside users--first beam arrives Tuesday(?)
Our run = May 1st or shortly thereafter.
End Station A
Glory Days

## Slide 3: ESA Experimental Area
Beam
ESTB Beam Dump

## Slide 4: Today…Junk Pile (useful for test beam)
Flexible
Much old stuff to borrow.
Technical staff
Can I sell you a used magnet?

## Slide 5: We’re ready…
GEM stack assembled & running w/o CsI.
Evaporate midlate April (effort & $$$ to keep fresh)
New Mesh
88% Transparent
New Segmented GEMs
New SRS DAQ System
New Pad Plane -- Hexes
New HV Chain
Spark Detection

## Slide 6: Summary – Our Baby is Ready!
Son
Granddaughter
55Fe – pickoff Bottom GEM
Event Display
Single 55Fe Event
To PhD Program
Marie
Stephanie
DAQ Talks…

## Slide 7: Backups

## Slide 8: Mirror Developments
Cherenkov photon yield primarily at small l.
Deep UV mirrors use 250 Ao MgF2 overcoat to act as dielectric mirror.
Plans:
  Year 1: Develop in-house manufacture of small mirrors.
  Year 2: Scale up to use Big Mac
First in-house mirror made!
Reflectivity tests pending at BNL.
90
80
120
200
Commercial mirror

## Slide 9: Changes for SLAC
New GEM foils…multiple strips like PHENIX.
Second pad plane…hexagons to see rings.
New trip detection system:
  Capacitive coupling off resistor chain.
  Integrated with PHENIX HBD HV relays.

## Slide 10: Forward RICH
RICH particle ID involves a limited dynamic range of momenta set by gas index of refraction.
The highest momenta rely on the lowest n.
Our R&D targets the highest momenta with a CsI photo-cathode RICH.
Major Issue: Reflectivity of mirrors deep in the UV.