## Slide 1: SoLID review DAQ recommendations
Alexandre Camsonne

## Slide 2: Recommendations 2c
The plans for the High Level Trigger and the needs for slow control need to be worked out in detail and the implications for resources need to be evaluated.
The implications of the need for these resources in the context of availability of resources at the laboratory need to be understood.
Closer communication with the other JLab experiments and the JLab computing center is strongly encouraged.
Having a functional simulation and reconstruction routines as soon as possible should be a high priority in the software effort. Such software will pay off many times over in experimental design and avoiding pitfalls.

## Slide 3: DAQ observations

## Slide 4: Dead time correction PVDIS 1b.2
Test with small scale setup
Simulation
Discuss with DAQ group for particular features needed
  Example : helicity gated deadtimes

## Slide 5: L3 trigger 2c1
Test on small scale L1 trigger
L3 farm : collaborate with Hall D, try to test simulated data on their setup
Need simulated digitized data and tracking algorithm to test online
Need to figure out funding

## Slide 6: Ressources 2c2
Computing ressources needed for L3
Tape SILO needs, network
Manpower

## Slide 7: L3 trigger 2c2
Test on small scale L1 trigger
L3 farm : collaborate with Hall D, try to test simulated data on their setup
Need to figure out funding

## Slide 8: Communication with other groups 2c3
Try collaborate with Hall D
Constant communication with JLAB DAQ and electronics group
Hall C interested in using VETROC for logic and readout
check experience with APV and FADC from HPS
  Already planning to reuse HPS trigger scheme

## Slide 9: Recommendation 2c4
See software talk

## Slide 10: Forgotten recommendation
Bunker design
  Radiation
  Cooling of bunker to be evaluated / design

## Slide 11: Pre R&D
Test trigger rate capability ( 3 months + 1 JLAB )
Test triggering schemes ( implementation 3month / test 6 month + 1 person JLAB)
GEM APV rate capability ( before end of August : 3 months +1 person (UVA+Stony Brook)
MRPC : high resolution timing
L3 : performance tests and data reduction ( 6 months / 1 student or postdoc and JLAB staff)
  Need simulated data ( software )
  Reconstruction algorithm to test ( software )

## Slide 12: Hardware
FADC availables
VXS crates and Intel CPU
GTP borrowed
VETROC available
R&D need
  Individual FADC reading
  Trigger setup
  Deadtime measurement for PVDIS
  ( High resolution TDC )

## Slide 13: Manpower
JLAB :
  Alexandre Camsonne
  Robert Michaels ( Compton development )
  Electronics group
  DAQ group
Stony Brook
  Seamus Riordan
  Krishna Kumar
  Postdoc
  Student
Need to make detailed manpower and task schedule for R&D and experiment

## Slide 14: Timeline
Summer SBS projects
  GTP : calorimeter
  VETROC : used by Compton
  FADC : FADC counting DAQ deployment
  L3 farm test will Hall D
  GEM : MPD test
Development :
  Deadtime mesurement
  FADC readout and trigger serialization ( could be used by other experiments NPS, SBS )

## Slide 15: Conclusion
L3 needs addressed with Hall
Slow controls being addressed
Several tests this summer can address recommendation
Working on detailed man power loaded schedule