## Slide 1: PVDIS Response

## Slide 2: Q2 Calibration by Elastic Scattering
6.6 GeV
To get 200/cm/sector at 50uA
E [GeV] t [hrs]
4.4 0.006
8.8 1.6
11 6
4.4 GeV

## Slide 3: Elastic Rates vs Energy
4.4 GeV
6.6 GeV

## Slide 4: Alignment Plan: Use Tracks
Beam
GEM’s
Tracks
If tracks were straight,
alignment would be
simple. Tracks are
approximately straight.
Problem:
know alignment
of GEM package
relative to beam axis
(2 angles, 2positions)
Due to the symmetry of the
apparatus, the Q2 is independent
of misalignments. (ROM) Issue is
estimating second order effects.
(Different from SBS)
GEMs are mounted so that
relative positions of all anode
strips are precisely known.
(Don’t mount GEM’s separately
on baffles.)

## Slide 5: Systematics: Polarimetry
We are in good shape.

## Slide 6: Qweak Beam Polarimetry
Compton: A. Narayan et al, Phys. Rev. X 6.011013 (2016)
  Preliminary Run 2 Polarization
Compton (Edet) Møller
(see Bob Michaels’ talk)
Good agreement between Møller & Compton (electron detector)
Compton photon detector: issues with PbWO4 calorimeter (afterglow?)
Systematics:
- Compton (Edet) : P/P = 0.42% - Møller: P/P = 0.65%
Combined Total: P/P = 0.61% (systematics + statistics + scaling)
0.62% systematic uncertainty (combined)
Serious progress!!
Notes: Scaled Compton to match Moller: scaling was -0.21% with a stats + point-to-point error of 0.29%; included this error in total

## Slide 7: Polarimetry progress in Jlab Hall A
Compton spectrometer works
at high energy
Magnetization of Fe target
Robert Michaels

## Slide 8: Acceptance and Efficiencies
Acceptances: given in statistics plot?
Loss in efficiency due to losses in tracking X LGC X ECal ignored in Pre-CDR: use 80%?
Question: do backgrounds introduce loss of efficiency and systematic errors?
Recent progress with ECal: looks good.

## Slide 10: Systematics: Backgrounds

## Slide 11: Systematics: Pileup in ECal
Most photons deposit litte energy

## Slide 12: Different blocks have very different pileup issues

## Slide 13: Tracking Issues
Tracking is a huge job and present resources are limited.
Wire occupancies might be understood soon.
  Non-uniform background distribution
  Long anode strips
  Large background pulses
Does a gradient is occupancy induce a systematic position shift?

## Slide 14: Non-uniform Distribution: GEM 2

## Slide 15: Non-uniform Distribution: GEM 4

## Slide 16: LGC Systematics
My major concern: random singles rate
Major contribution: low energy, wide angle electrons
Can this be reduced by optimizing the hardware?

## Slide 17: PV Background Asymmetries from Hyperons
Low energy Δ’s source of much γ background.
Low energy hyperons might dominate asymmetry.
π0’s from hyperons do not come from beamline.

## Slide 18: Estimated size
Fraction of π’s from hyperons. <10%?
Asymmetry of decay. 0.5
Asymmetry in photon energy. <20%??
Polarization of parent photon.? <10%?
Cancellation from Σ’s.

## Slide 19: Photon Polarization

## Slide 20: Pion Energy (MOLLER)

## Slide 21: What do we need to do for response?
Having useful tracking analysis is unrealistic
Understanding GEM occupancy is enough (month time scale)
Reducing the acceptance of HGC for wide angle, low E electrons and positrons must be done: no estimate.