## Slide 1
Input from Hall A
Thia Keppel
SoLID Collaboration Meeting
December 2016

## Slide 2: Hall A Projected Experiment Schedule, updated 12/2016 Experiments in red represent PAC42 “high impact” experiments
Spring | Fall | Spring | Fall | Spring | Fall | Spring | Fall
DVCS –I/ GMp | DVCS –I/ GMp |  |  |  |  |  | 
 |  | DVCS –I/ GMp | DVCS –I/ GMp |  |  |  | 
 |  |  |  | 3H/3He group Ar(e,e’p)* | 3H/3He group Ar(e,e’p)* |  | 
 |  |  |  |  |  | TBD: nothing! APEX PREX12 CREX A1n DVCSII | ???
CY
2015
CY
2017
CY 2016
CY
2018
X
*best effort

## Slide 3: Hall A Projected Experiment Schedule, updated 12/2016 Experiments in red represent PAC42 “high impact” experiments
Spring | Fall | Spring | Fall | Spring | Fall | Spring | Fall
DVCS –I/ GMp | DVCS –I/ GMp |  |  |  |  |  | 
 |  | DVCS –I/ GMp | DVCS –I/ GMp |  |  |  | 
 |  |  |  | 3H/3He group Ar(e,e’p)* | 3H/3He group Ar(e,e’p)* |  | 
 |  |  |  |  |  | TBD: nothing! APEX PREX12 CREX A1n DVCSII | ???
CY
2015
CY
2017
CY 2016
CY
2018
X
*best effort
Disclaimer: This could change drastically and quickly depending on the budget….

## Slide 4
6.6
8.8
11 GeV
6.6
8.8
11 GeV
11 GeV
8.8
3
2
1 days
5 days
4
4
4
13
16 days
13
20
10 calendar weeks in Spring’16
Fall’14
x
x
x
x
x
x
x
x
x
x
x
DVCS-I and GMp: Concurrent Experiments in Hall A at 11 GeV
High impact experiment for 3D nucleon imaging
  Deeply Virtual Compton Scattering (DVCS) provides access to Generalized Parton Distributions (GPDs)
Will provide highest available Q2 measurement of the DVCS cross section
  Demonstration of scaling critical to full JLab 12 GeV GPD program
DVCS
GMp
High Q2 Form Factors
  Reducing GMp uncertainties will enable Super BigBite high impact program of Form Factor Measurements
        Both polarimeters operational during DVCS/GMp

## Slide 5: “New” Resistive Q1 Magnets
    SOS quad functioned well on HRS-R
      Multiple optics studies, data obtained by GMp/DVCS
    HRS-L new SOS twin installed Summer 2016
      Will permanently replace superconducting quads
    Mounts to allow forward/backward movement (not being used)
    Power, water upgrades to Hall this Summer 2016
    - useful also for septum experiments, SBS, MOLLER

## Slide 6
Tritium Experiment Preparations
Four 3H experiments, 2 PAC 40 “high impact”
  12 graduate students
Will try to run Ar(e,e’p) with group as well, best effort
Successful ERR March 2016
  Final report issued April 2016
Installation started in Summer 2016
  Vent system
  Power, water upgrades
  Target engineering
  Target installation platform

## Slide 7: Beyond 3H
    PREX/CREX
        Pb and diamond targets, new coils purchased and at lab
        Combined target chamber, shielding conceptual design
        Computation fluid dynamics for target design
        Beamline upgrades
          Second x,y,Q girder (from Hall C), new “Musson” cavity electronics, Hall C halo monitor installed in A, lumi monitors installed and first pass tests started
        Polarimetry
    APEX
        New septum magnet purchased by collaboration now in test lab, added fittings and
        manifold
        Computation fluid dynamics for target design, heating testing

## Slide 8: SBS Construction
Project started FY2012
  Successfully passed fourth annual review November 2016
  Preparing for Closeout!
  Overall very positive, project on track
Spectrometer, ECAL work at Jlab
GEM construction at UVA
Coordinate detector from Idaho State
HCAL Hadron calorimeter from CMU

## Slide 9: Super Bigbite Spectrometer (SBS) Detectors
CDET module ready for cosmic testing with full data acquisition
UVa High rate X-ray testing setup for GEMs
INFN Front Tracker GEM chamber with carbon fiber frame at JLab
Hadron Calorimeter modules at JLab
Rear GEM tracker modules at UVA

## Slide 10: Polarized 3He Stage II Upgrade and Status
Stage II goal:
60 uA on 60 cm , ~10 atm,
L ~ 6.6x1036 cm-2s-1
In-beam polarization ~60%,
Polarization measurement precision~ 3%
Approaches:
Re-use existing Helmholtz coils, a new
shielding box to shield SBS fringe field
Convection flow
Target cell, pumping chamber size 4.2”
metal end-windows for target chamber
Two-side optical pumping
Status:
Conceptual Design Complete
Mechanical design started
New optical fibers delivered, started to order lasers/He3 gas
Stage-I 3.5” cell production started
New polarimetry, pulsed-NMR, reached design goal in lab test
Metal window R&D on-gong at UVa
Two-side optical pumping tested

## Slide 11
Moving to more future installations – MOLLER and SoLID

## Slide 12: MOLLER
    Successful Science Review September 2014
    Supporting ongoing magnet and collimator development work at MIT
    New Moller polarimeter (in place)
    Preparing for Director’s cost, schedule, technical review this month!
    Looking towards CD0

## Slide 13: SoLID
Conceptual design support continues (see Robin/Whit talk)…
Also magnetic modeling (see Jay’s talk)…

## Slide 14
SoLID
And the CLEO magnet has arrived at JLab! Well, started.. still ~50 trucks of steel to come…
Coil collar in JLab test lab
high bay
Cryostat leaving Cornell

## Slide 15
SoLID
General comment…
Strongly suggest submitting a draft MIE sooooon… (perhaps at same time as response to Director’s Review)
Thanks!