## Slide 1: SoLID SIDIS_He3 trigger
Zhiwen Zhao
2016/10/06
2016/10/18
2016/10/25
2016/11/30
2016/12/13

## Slide 2: SIDIS He3 (gas only)
e _FA (kHz) | EC | EC+LGC | EC+LGC+SPD | EC+LGC+SPD+MRPC
electron | 70 (56) | 63.5(55) | 63(55) | 63(55)
Pim | 531 | 3.8 | 3.8 | 3.8
Pip | 696 | 4.3 | 4.2 | 4.2
Pi0 | 1024 | 57 | 54 | 52
Total: | 2324 | 128 | 123 | 123
hallD generator & Jin’s EC Wiser trigger
e_LA(kHz) | EC | EC+SPD
electron | 4.5 | 4.3
Pim | 6.8 | 6.5
Pip | 8.4 | 7.8
Pi0 | 13.7 | 1.3
Total: | 33.4 | 20
h_FA(kHz) | EC | EC+SPD | EC+SPD+MRPC
electron | 216 | 184 | 174
Pim | 5895 | 5838 | 5267
Pip | 7662 | 6969 | 6863
Pi0 | 5006 | 1120 | 842
Total: | 18779 | 14111 | 13146
Whole detector matching only, No hit matching yet

## Slide 3: Trigger condition Trigger logic
e_FAEC: R(105-235)cm, Q2>=1, Jin’s wiser trigger curve
e_LAEC: R(80-140)cm,P>3, Jin’s wiser trigger curve
h_FAEC: R(105-235)cm, cut below MIP, Jin’s wiser trigger curve
e_LGC: at least 2 PMT and each has at least 2 photons, similar to PVDIS
e_FASPD and h_FASPD: Edep>0.5MeV
e_LASPD: Edep>1.5MeV
e_MRPC and h_MRPC are not working yet, so not used
e_FA: e_FAEC & e_LGC & e_FASPD
e_LA: e_LAEC & e_LASPD
h_FA: h_FAEC & h_FASPD
Starting from EC and record all hits pass trigger
Then check matching LGC sectors and two neighboring sectors, if any sector passes, then LHC pass
Then check matching SPD sector
Finally we have individual triggers, we can count single trigger rate without double counting
Then check coincidence trigger with all hits from single trigger
Check e_LA & h_FA
Check e_FA & h_FA and choose to cut on hit distance on FAEC
hit matching

## Slide 4: single (gas(hallD),win up(wiser),win down(wiser))
e_FA(kHz) | EC | EC+LGC | EC+LGC+SPD
Electron | 68 (57) | 63(56) | 58(52)+1+2
Pip | 694(643) | 4.2(3.3) | 3.8(3.1)+2.5/2+1.6/2
Pim | 537(492) | 4.0(3.2) | 3.6(3.0) +2.3/2+2.1/2
Pi0 | 1024(120) | 43(31) | 32(30) +1.1/2+5.8/2
P | 202(185) | 0(0) | 0(0) +0/2+0/2
all hadrons, no electron | 2692 | 62 | 47 +?+?
Total: |  |  | 105+4+7=116
Jin’s EC Wiser trigger
e_LA(kHz) | EC | EC+SPD
electron | 4.5(4.3) | 4.1(4)+3.6+2.6
Pip | 8.6(8.5) | 7.9(8.1)+8.4/2+5.6/2
Pim | 6.4(6.0) | 5.9(5.7) +6.1/2+3.7/2
Pi0 | 15.3(0.2) | 0.6(0.2) +0.4/2+0.3/2
P | 2.9(3.2) | 2.8(3.0) +7.6/2+4.8/2
all hadrons, no electron | 38 | 18 +?+?
Total: |  | 22 +14+10=46
h_FA(kHz) | EC | EC+SPD
electron | 140(94) | 100(87) +4+4
Pip | 5855(4898) | 5151(4447) +3405/2+4570/2
Pim | 4925(3787) | 3971(3435) +3300/2+4590/2
Pi0 | 4607(811) | 548(468) +33/2+171/2
P | 3510(3103) | 3164(2831) +2243/2+2563/2
all hadrons, no electron | 17392 | 12805 +?+?
Total: |  | 12913 +4500+6000=23413
hit matching
Only primary particle in parenthesis,
In case of pi0, only e+ or e-
Random coin (116+46-10.3-7.06-6.96)*23413*1e3*30e-9=97KHz
Pi0 before LGC 26(26)
Pi0 before GEM 13(12)
electron trigger self coin prescaled by 10
61/10=6kHz
only primary particle in parenthesis
Wiser rate scaled down by 2

## Slide 5
Coin trigger rate (kHz) (EC distance cut for e_FA & h_FA) |  | e_FA | h_FA | e_LA | e_FA & h_FA | e_LA & h_FA | (e_FA & h_FA) + (e_LA & h_FA) | Direct estimation
e+pip | >= 0cm | 36(32) | 127(74) | 4.5(3.5) | [80]36(6.3) | [1.3]1.2(0.71) | [81.3]37.2(7.0) | (7.54)
 | >= 0.1cm | same | same | same | [18]13(6.3) | Same | [19.3]14.2(7.0) | (7.54)
 | >= 32.5cm | same | same | same | [11]9.1(6.3) | same | [12.2]10.3(7.0) | (7.45)
e+pim | >= 0cm | 27(25) | 99(58) | 3.3(2.8) | [58]27(4.7) | [1]0.76(0.53) | [59]27.76(5.2) | (5.51)
 | >= 0.1cm | same | same | same | [13]9(4.7) | same | [14]9.76(5.2) | (5.51)
 | >= 32.5cm | same | same | same | [7.5]6.3(4.7) | Same | [8.4]7.06(5.2) | (5.44)
e+pi0 | >= 0cm | 27 | 42 | 2.6 | 27 | 0.05 | 27.05 | 
 | >= 0.1cm | same | same | same | 3.8 | same | 3.85 | 
 | >= 32.5cm | same | same | same | 0.6 | same | 0.65 | 
e+p | >= 0cm | 22 | 94 | 2.5 | 22 | 0.76 | 22.76 | 
 | >= 0.1cm | same | same | same | 7.9 | same | 8.66 | 
 | >= 32.5cm | same | same | same | 6.2 | same | 6.96 | 
Direct estimation: using SIDIS generator, EC&GEM acceptance histogram and 8deg cut
with or without vertex angle>2.5deg
hit matching
only primary particle in parenthesis,
double counting NOT removed in square bracket
SIDIS coin (9.1+6.3+0.6+6.2)+(36+27+27+22)/10+(1.2+0.76+0.05+0.76)=36kHz
Coin

## Slide 6
Coin trigger rate (kHz) (EC distance cut for e_FA & h_FA) |  | e_FA | h_FA | e_LA | e_FA & h_FA | e_LA & h_FA | (e_FA & h_FA) + (e_LA & h_FA) | Direct estimation
e+kp | >= 0cm | 10 | 19 | 1 | 10 | 0.06 | 10.06 | 
 | >= 0.1cm | same | same | same | 1.7 | same | 1.76 | 
 | >= 32.5cm | same | same | same | 0.6 | same | 0.66 | 
e+km | >= 0cm | 1.3 | 6.8 | 0 | 1.3 | 0.002 | 1.302 | 
 | >= 0.1cm | same | same | same | 0.23 | same | 0.232 | 
 | >= 32.5cm | same | same | same | 0.11 | same | 0.112 | 
e+k0 | >= 0cm | 5.4 | 23 | 0.5 | 5.4 | 0.12 | 5.52 | 
 | >= 0.1cm | same | same | same | 1.9 | same | 2.02 | 
 | >= 32.5cm | same | same | same | 1.6 | same | 1.72 | 
all hadrons, no electron | >= 0cm | 47 | 18 | 12805 | 47 | 5.9 | 53 | 
 | >= 0.1cm | same | same | same | 22 | same | 28 | 
 | >= 32.5cm | same | same | same | 17 | same | 23 | 
only primary particle in parenthesis,
double counting NOT removed in square bracket
hit matching
hadron coin (17)+(47)/10+(5.9)=28kHz
Direct estimation: using SIDIS generator, EC&GEM acceptance histogram and 8deg cut
with or without vertex angle>2.5deg
Coin

## Slide 7: SIDIS_He3 trigger rate summary (2016/12/2)
Single e 116+46=162kHz
Random coin 97kHz
True coin rate <70kHz
  electron trigger self coin 6kHz
  coin from SIDIS 36kHz
  coin from hadrons 28kHz (still missing window)
Total coin rate 167kHz + from hadrons of windows
All three true coin rate has overlaps
but can’t know how much
without a complete generator!

## Slide 8: SIDIS He3 total coin trigger (2016/12/13)
EC,LGC,SPD trigger condition has no change
Use 20ns time window
enlarge upstream collimator to block 7-24 deg, reduce LA e trigger from 46 to 32
Change collimator from W powder to pure W, FA hadron trigger change from 23413 to 20413
Reduce hadron coin rate 23 by factor 2(?) to remove overlap with SIDIS coin
Random coin
45.5=(116+32-10.3-7.06-0.65-6.96-11.5)*20413*1e3*20e-9
SIDIS coin 27
Hadron coin 11.5
Prescale FA inclusive e trigger 116/10
Total 45.5+27+11.5+11.6=96kHz

## Slide 9: Todo
Update EC trigger curve and work on EC simulation in general
Update MRPC simulation for trigger
Use halld generator for He3 window
Modify halld generator including e and hadrons
Add low energy EM better
Add elastic, quasi-elastic?
Add radiative correction?